## List of Voltages
Bus | 1 | Voltage: | 1.05 | Angle: | 0
Bus | 2 | Voltage: | 1.045 | Angle: | -3.289
Bus | 3 | Voltage: | 1.01 | Angle: | -9.4065
Bus | 4 | Voltage: | 1.0267 | Angle: | -6.4469
Bus | 5 | Voltage: | 1.0304 | Angle: | -5.4432
Bus | 6 | Voltage: | 1.0231 | Angle: | -7.9323
Bus | 7 | Voltage: | 0.9899 | Angle: | -10.6247
Bus | 8 | Voltage: | 0.98714 | Angle: | -10.4719
Bus | 9 | Voltage: | 0.99998 | Angle: | -9.3793
Bus | 10 | Voltage: | 1.06 | Angle: | -6.8135
Bus | 11 | Voltage: | 1.0245 | Angle: | -8.137
Bus | 12 | Voltage: | 1.04 | Angle: | -9.2402

## Power Produce at Gen.
Bus | 1 | P MW: | 145.6856 | Q MVAr: | -26.0757
Bus | 2 | P MW: | 18.3094 | Q MVAr: | 26.9157
Bus | 3 | P MW: | -61.1975 | Q MVAr: | 2.7978
Bus | 4 | P MW: | 27.8033 | Q MVAr: | 11.5381
Bus | 5 | P MW: | 12.1012 | Q MVAr: | 18.4362
Bus | 6 | P MW: | -57.8108 | Q MVAr: | 3.9146
Bus | 7 | P MW: | -7.5844 | Q MVAr: | -1.584
Bus | 8 | P MW: | -13.5006 | Q MVAr: | -8.4969
Bus | 9 | P MW: | -29.4998 | Q MVAr: | -13.5982
Bus | 10 | P MW: | -8.9995 | Q MVAr: | -5.7996
Bus | 11 | P MW: | -4.3015 | Q MVAr: | -2.0984
Bus | 12 | P MW: | -13.4983 | Q MVAr: | -5.799

## Power Flow at Line
Line: | 1 | to | 2 | P MW: | -451.5427 | Q MVAr: | -1703.4539 | S MVA: | 1762.2844
Line: | 1 | to | 5 | P MW: | -67.0312 | Q MVAr: | -466.6612 | S MVA: | 471.4508
Line: | 2 | to | 3 | P MW: | -65.328 | Q MVAr: | -514.5941 | S MVA: | 518.7242
Line: | 2 | to | 4 | P MW: | -150.381 | Q MVAr: | -558.0032 | S MVA: | 577.9118
Line: | 2 | to | 5 | P MW: | -162.0243 | Q MVAr: | -565.7643 | S MVA: | 588.5075
Line: | 3 | to | 4 | P MW: | -147.0027 | Q MVAr: | -29.5297 | S MVA: | 149.9393
Line: | 4 | to | 5 | P MW: | -763.5965 | Q MVAr: | -2269.7964 | S MVA: | 2394.7976
Line: | 4 | to | 7 | P MW: | 13.3123 | Q MVAr: | -182.246 | S MVA: | 182.7316
Line: | 5 | to | 6 | P MW: | 18.1674 | Q MVAr: | -417.9242 | S MVA: | 418.3189
Line: | 6 | to | 9 | P MW: | -189.3796 | Q MVAr: | -423.7861 | S MVA: | 464.1759
Line: | 6 | to | 10 | P MW: | -172.1875 | Q MVAr: | -341.1411 | S MVA: | 382.1332
Line: | 6 | to | 11 | P MW: | -322.5462 | Q MVAr: | -640.857 | S MVA: | 717.4495
Line: | 7 | to | 8 | P MW: | -383.996 | Q MVAr: | -1011.8547 | S MVA: | 1082.2675
Line: | 7 | to | 12 | P MW: | -154.0927 | Q MVAr: | -308.2063 | S MVA: | 344.5805
Line: | 8 | to | 9 | P MW: | -193.9205 | Q MVAr: | -431.0049 | S MVA: | 472.6207
Line: | 10 | to | 11 | P MW: | -264.5847 | Q MVAr: | -250.7411 | S MVA: | 364.5219
Line: | 11 | to | 12 | P MW: | -116.3756 | Q MVAr: | -248.9463 | S MVA: | 274.8046

## Line Check
Line | 1 | to Line | 2 | has exceeded normal operation limit
Line | 1 | to Line | 5 | has exceeded normal operation limit
Line | 2 | to Line | 3 | has not exceeded normal operation limit
Line | 2 | to Line | 4 | has not exceeded normal operation limit
Line | 2 | to Line | 5 | has not exceeded normal operation limit
Line | 3 | to Line | 4 | has not exceeded normal operation limit
Line | 4 | to Line | 5 | has not exceeded normal operation limit
Line | 4 | to Line | 7 | has not exceeded normal operation limit
Line | 5 | to Line | 6 | has not exceeded normal operation limit
Line | 6 | to Line | 9 | has not exceeded normal operation limit
Line | 6 | to Line | 10 | has not exceeded normal operation limit
Line | 6 | to Line | 11 | has not exceeded normal operation limit
Line | 7 | to Line | 8 | has not exceeded normal operation limit
Line | 7 | to Line | 12 | has not exceeded normal operation limit
Line | 8 | to Line | 9 | has not exceeded normal operation limit
Line | 10 | to Line | 11 | has not exceeded normal operation limit
Line | 11 | to Line | 12 | has not exceeded normal operation limit

## Voltage Check
Bus | 1 | has not exceeded normal operating limits
Bus | 2 | has not exceeded normal operating limits
Bus | 3 | has not exceeded normal operating limits
Bus | 4 | has not exceeded normal operating limits
Bus | 5 | has not exceeded normal operating limits
Bus | 6 | has not exceeded normal operating limits
Bus | 7 | has not exceeded normal operating limits
Bus | 8 | has not exceeded normal operating limits
Bus | 9 | has not exceeded normal operating limits
Bus | 10 | has exceeded normal operating limits
Bus | 11 | has not exceeded normal operating limits
Bus | 12 | has not exceeded normal operating limits

## Convergence Record
Iteration | Maximum P Mismatch | Location of P Mismatch | Maximum Q Mismatch | Location of Q Mismatch
1 | 0.034927 | 1 | 0.045026 | 6
2 | 0.00015614 | 6 | 0.00015984 | 6